{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":10,"rows_kept":15,"merged":[[0,0,0,9],[14,0,14,9]],"flags":["formulas_cached_only"]}
["安康学院心理学实验室仪器设备招标采购清单"]
["序号","仪器名称","品牌","参考规格/型号","主要技术指标","单位","数量","参考单价(元）","金额(元）","备注"]
[1,"心理实验台",null,null,"能进行43种以上的心理实验、10英寸液晶显示，存取多名被试学号、姓名与测试数据，即时打印测试结果","台",6,null,null,"详细技术指标见附件"]
[2,"成人心理测量系统",null,null,"网络版","套",1]
[3,"儿童心理测量系统",null,null,"网络版","套",1]
[4,"教师主机","联想/戴尔/方正",null,"Intel 酷睿 i7 920/4GB DDR3内存/1TB SATA 3.0Gb/s 硬盘/1GB DDR3 显卡/16倍速DVD+/-RW/2.1音箱/24全高清宽屏LCD 支持3D","台",1,null,null,"在三个推荐品牌中选择一个品牌提供报价"]
[5,"学生用机","联想/戴尔/方正",null,"奔腾双核E7500/2G内存/320GSATA硬盘/512M独立显卡/DVD光驱/带硬盘还原及网络同传功能/20寸宽屏液晶/百兆网卡/所有部件3年保修","台",8,null,null,"在三个推荐品牌中选择一个品牌提供报价"]
[6,"交换机",null,null,"24口桌面级以太网交换机；存储转发方式 ；48Gbps背板带宽；支持全双工；10/100/1000M自适应RJ45端口 ","台",1]
[7,"激光打印机","HP/佳能",null,"A4彩色激光打印机；有线网络打印功能；自动双面打印功能","台",1,null,null,"在推荐品牌中选择一个品牌提供报价"]
[8,"摄像机","索尼/松下/佳能",null,"·240GB内置硬盘\n·663万总像素“Exmor R”CMOS影像传感器\n·1200万像素静态图像拍摄*2\n·29.8mm广角“G镜头”60倍机械变焦\n·光学防抖（增强模式）*3\n·3.5\"Xtra Fine液晶屏",null,1]
[9,"网线","普天",null,null,"箱",1]
[10,"电源插座",{"$nulls":3},"个",10]
[11,"辅助五金件",null,null,"线槽、水晶头、扎带、膨胀螺丝、线卡等","批",1]
["总计"]
["说明：1、全部设备安装调试到位；\n      2、提供免费人员培训；\n      3、主要设备提供三年免费保修服务；\n      4、公布的产品型号为参考型号，非指定性要求，设备性能达到或优于参考型号产品性能均可。"]