{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["第一标段","第二标段"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"第一标段","index":0,"n_rows":7,"n_cols":10,"rows_kept":7,"merged":[[0,0,0,9],[1,0,1,9],[6,0,6,9]],"flags":["formulas_cached_only"]}
["安康学院实验室计算机类设备采购清单"]
["第一标段 公共计算机房设备"]
["序号","设备名称","品牌","参考型号","规格","单位","数量","单 价(元)","金 额(元)","备注"]
[1,"  学生用计算机"," 联想\\戴尔\\惠普",null,"奔腾双核E5400/2G内存/320GSATA硬盘/集成显卡/DVD光驱/带硬盘还原及网络同传功能/18.5宽屏液晶/100M网卡并支持网卡启动/所有部件3年保修/设备安装到位","台",80,null,null,"从备选品牌中选择一个品牌报价"]
["小计"]
["总计"]
["说明：品牌和产品型号均供参考，非指定性要求，投标产品只要达到本清单产品型号性能均可"]

{"sheet":"第二标段","index":1,"n_rows":17,"n_cols":14,"rows_kept":17,"merged":[[0,0,0,13],[1,0,1,13],[16,0,16,9]],"flags":["formulas_cached_only"]}
["安康学院实验室计算机类设备采购清单"]
["第二标段  公共模拟实训实验室设备"]
["序号","设备名称","品牌","参考型号","规格","单位","数量","单 价(元)","金 额(元)","备注",{"$nulls":3}," 备注"]
[1,"学生用计算机","联想\\戴尔\\惠普",null,"奔腾双核E6600/2G内存/320GSATA硬盘/512M独立显卡/DVD光驱/带硬盘还原及网络同传功能/18.5寸宽屏液晶/100M网卡并支持网卡启动/所有部件3年保修","台",46,null,null,"从备选品牌中选择一个品牌报价"]
[2,"机柜","万通",null,"9U","个",1]
[3,"稳压电源","振华\\易事特",null,"20KV/单相全自动交流稳压","台",1,null,null,"从备选品牌中选择一个品牌报价"]
[4,"电脑桌（学生用）",null,null,"2.5机制面板（高密），侧立板1.8，背板1.6，单座；大小根据机房面积定制；保质一年","张",44]
[5,"电脑桌(教师用)",null,null,"2.5机制面板（高密），侧立板1.8，背板1.6，单座大小根据机房面积定制；保质一年 ","张",1]
[6,"电脑凳",null,null,"木质方凳，大小按照机房面积定制；","张",45]
[7,"音响","湖山",null,null,"套",1]
[8,"配线架",null,null,"48口配线架","个",1,null,null,"或两个24口配线架"]
[9,"防静电地板（含支架）",{"$nulls":3},"平方米",80]
[10,"网线","永鑫 ",null,"超五类四对非屏蔽双绞线","箱",3]
[11,"零散配件，耗材及施工"]
[]
["总计"]
["说明：品牌和产品型号均供参考，非指定性要求，投标产品只要达到本清单产品型号性能均可"]